| Document Title : Technical P.O Specification for Air Conditioning System |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project: |  |  |  |  |  |  |  |  |  |  |  |  |
| - |  |  |  |  |  |  |  |  |  |  |  |  |
| Rev. | Status | Date (DD.MM/YY) | Description |  |  |  | Prepared by |  |  | Checked by | Approved by |  |
| Contractor Logo |  |  |  |  |  | Company Logo |  |  |  |  |  |  |
| SHI Project Number: |  |  |  |  | Facilities: |  |  |  | SFI Code: |  |  |  |
| Contractor Document Number |  |  |  | - |  |  |  | Rev. No. |  |  |  | - |
| Company Document Number |  |  |  | - |  |  |  | Rev. No. |  |  |  | - |
| Design discipline |  |  |  | ACCOMMODATION DESIGN |  |  |  | As-Built (Y/N) |  |  |  | N |
| SAMSUNG HEAVY IND. CO., LTD.GEOJE SHIPYARD, KOREA |  |  |  |  |  |  |  |  |  |  |  |  |
| This document is the property of SAMSUNG HEAVY IND.CO., LTD. and must in no case wholly or partially be copied, shown or given to a third party without SAMSUNG's consent. |  |  |  |  |  |  |  |  |  |  |  |  |

Revision Record

| Revision Log |  |  |
| --- | --- | --- |
| Rev | Section | Description of Revision |
| 0 | All | First issue for review. |

Table of Contents

1.	INTRODUCTIONs	4

2.	GENERAL REQUIREMENT	4

2.1	Rules, Regulation and General Specification	4

2.2	Responsibility	4

3.	HVAC DESIGN CRITERIA	4

3.1	Plant capacity design conditions.	4

3.2	Heating, Humidification, Cooling medium and Fresh/Return air.	4

3.3	Refrigerating plant and AHU location.	4

3.4	Deck height and ceiling height.	4

3.5	Heat dissipation	5

3.6	Type of Ventilation and Air change rate	5

3.7	Noise level	6

3.8	Operation guide of HVAC system for loading and unloading	6

4.	SCOPE OF SUPPLY	7

4.1	Air conditioning system	7

4.1.1	A/C Refrigerating plant	7

4.1.2	Central Air Handling Unit	8

4.1.3	HVAC Control panel (If apply to PLC)	9

4.1.4	Temperature control	9

4.2	Mechanical ventilation fans	9

4.2.1	Supply ventilation fans	9

4.2.2	Extract ventilation fans	10

4.3	Separate air conditioning unit (PACU)	10

4.3.1	Galley PACU	10

4.3.2	Electrical equipment room PACU	10

4.3.3	Cargo switchboard room# 1.	11

4.3.4	Cargo switchboard room# 2.	11

4.4	Air distribution and Ducting	12

4.5	Piping	12

4.6	Lubricating oil and refrigerant	12

4.7	Spare parts, Tools and Identification plates	12

4.8	Drawings and Documents	12

5.	EQUIPMENT AND INSTRUMENTS GENERAL REQUIREMENTS	13

6.	Inspection and function Test	14

7.	Miscellaneous (if required)	14

# INTRODUCTIONs

# GENERAL REQUIREMENT

## Rules, Regulation and General Specification

## Responsibility

# HVAC DESIGN CRITERIA

## Plant capacity design conditions.

| Cooling |  |  |  |
| --- | --- | --- | --- |
| Heating |  |  |  |

## Heating, Humidification, Cooling medium and Fresh/Return air.

## Refrigerating plant and AHU location.

## Deck height and ceiling height.

.

## Heat dissipation

|  |  | Heat dissipation, kW |
| --- | --- | --- |

## Type of Ventilation and Air change rate

## Noise level

## Operation guide of HVAC system for loading and unloading

# SCOPE OF SUPPLY

## Air conditioning system

### A/C Refrigerating plant

.

| Component | Specification |  |  | Remarks |
| --- | --- | --- | --- | --- |

4.1.1.1	Compressor controls and fittings

4.1.1.2	Condenser controls and fittings

### Central Air Handling Unit

| Component | Specification |  | Remarks |
| --- | --- | --- | --- |

### HVAC Control panel (If apply to PLC)

### Temperature control

In summer:

In winter:

In intermediate seasons:

.

Re-heater :

## Mechanical ventilation fans

### Supply ventilation fans

| No. | Served space | Qty | Remarks | Application |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |

### Extract ventilation fans

| No. | Served space | Qty | Remarks | Application |
| --- | --- | --- | --- | --- |

## Separate air conditioning unit (PACU)

### Galley PACU

| Q’ty/ship |  |
| --- | --- |

### Electrical equipment room PACU

### Cargo switchboard room# 1.

### Cargo switchboard room# 2.

| Q’ty/ship |  |
| --- | --- |
| Capacity |  |
| Air discharge |  |
| Function |  |
| Cooling water |  |
| Refrigerant |  |
| Air flow |  |
| Max. Noise level |  |
| Location |  |

## Air distribution and Ducting

## Piping

## Lubricating oil and refrigerant

## Spare parts, Tools and Identification plates

## Drawings and Documents

# EQUIPMENT AND INSTRUMENTS GENERAL REQUIREMENTS

# Inspection and function Test

# Miscellaneous (if required)